LOCAL MITIGATION PLAN REVIEW TOOL			2019

The Local Mitigation Plan Review Tool demonstrates how the Local Mitigation Plan meets the regulation in 44 CFR §201.6 and offers States and FEMA Mitigation Planners an opportunity to provide feedback to the community.

- The Regulation Checklist provides a summary of FEMA’s evaluation of whether the Plan has addressed all requirements.

- The Plan Assessment identifies the plan’s strengths as well as documents areas for future improvement.

- The Multi-jurisdiction Summary Sheet is an optional worksheet that can be used to document how each jurisdiction met the requirements of the each Element of the Plan (Planning Process; Hazard Identification and Risk Assessment; Mitigation Strategy; Plan Review, Evaluation, and Implementation; and Plan Adoption).

The FEMA Mitigation Planner must reference this Local Mitigation Plan Review Guide when completing the Local Mitigation Plan Review Tool.

| Jurisdiction: Columbiana County | Title of Plan: Columbiana County Hazard Mitigation Plan |  | Date of Plan: December 2019 |
| --- | --- | --- | --- |
| Local Point of Contact: Ms. Peggy Clark |  | Address: 215 South Market Street Lisbon, OH 44432 |  |
| Title: Director |  |  |  |
| Agency: Columbiana County Emergency Management Agency |  |  |  |
| Phone Number: 330-424-9725 |  | E-Mail: Peggy.Clark@ccoema.org |  |

| State Reviewer: Luan Nguyen | Title: State Hazard Mitigation Planner | Date: 1/8/2020 |
| --- | --- | --- |

| FEMA Reviewer: | Title: | Date: |
| --- | --- | --- |
| Date Received in FEMA Region (insert #) |  |  |
| Plan Not Approved |  |  |
| Plan Approvable Pending Adoption |  |  |
| Plan Approved |  |  |

SECTION 1:

REGULATION CHECKLIST

INSTRUCTIONS: The Regulation Checklist must be completed by FEMA.  The purpose of the Checklist is to identify the location of relevant or applicable content in the Plan by Element/sub-element and to determine if each requirement has been ‘Met’ or ‘Not Met.’  The ‘Required Revisions’ summary at the bottom of each Element must be completed by FEMA to provide a clear explanation of the revisions that are required for plan approval.  Required revisions must be explained for each plan sub-element that is ‘Not Met.’  Sub-elements should be referenced in each summary by using the appropriate numbers (A1, B3, etc.), where applicable.  Requirements for each Element and sub-element are described in detail in this Plan Review Guide in Section 4, Regulation Checklist.

| 1. REGULATION CHECKLIST |  | Location in Plan (section and/or page number) | Met | Not Met |
| --- | --- | --- | --- | --- |
| Regulation (44 CFR 201.6 Local Mitigation Plans) |  |  |  |  |
| ELEMENT A. PLANNING PROCESS |  |  |  |  |
| A1. Does the Plan document the planning process, including how it was prepared and who was involved in the process for each jurisdiction? (Requirement §201.6(c)(1)) | Sections 1.1 |  | X |  |
| A2. Does the Plan document an opportunity for neighboring communities, local and regional agencies involved in hazard mitigation activities, agencies that have the authority to regulate development as well as other interests to be involved in the planning process? (Requirement §201.6(b)(2)) | PDF page 300. |  | X |  |
| A3. Does the Plan document how the public was involved in the planning process during the drafting stage? (Requirement §201.6(b)(1)) | Section 1.1.3 |  | X |  |
| A4. Does the Plan describe the review and incorporation of existing plans, studies, reports, and technical information? (Requirement §201.6(b)(3)) | Section 1.3.3, Sources cited throughout plan. |  | X |  |
| A5. Is there discussion of how the community(ies) will continue public participation in the plan maintenance process? (Requirement §201.6(c)(4)(iii)) | Section 4.3 |  | X |  |
| A6. Is there a description of the method and schedule for keeping the plan current (monitoring, evaluating and updating the mitigation plan within a 5-year cycle)? (Requirement §201.6(c)(4)(i)) | Section 4.1 |  | X |  |
| ELEMENT A: REQUIRED REVISIONS |  |  |  |  |
| ELEMENT B. HAZARD IDENTIFICATION AND RISK ASSESSMENT |  |  |  |  |
| B1. Does the Plan include a description of the type, location, and extent of all natural hazards that can affect each jurisdiction(s)? (Requirement §201.6(c)(2)(i)) | Sections 2.x |  | X |  |
| B2. Does the Plan include information on previous occurrences of hazard events and on the probability of future hazard events for each jurisdiction? (Requirement §201.6(c)(2)(i)) | Sections 2.x |  | X |  |
| B3. Is there a description of each identified hazard’s impact on the community as well as an overall summary of the community’s vulnerability for each jurisdiction? (Requirement §201.6(c)(2)(ii)) | Sections 2.x |  | X |  |
| B4. Does the Plan address NFIP insured structures within the jurisdiction that have been repetitively damaged by floods? (Requirement §201.6(c)(2)(ii)) | Sections 2.2.4 |  | X |  |
| ELEMENT B: REQUIRED REVISIONS B2. - Page 169. I would remove the specific addresses listed in the plan. Leave things like plot size and street name, but remove the street number. Street addresses removed. Misc. - Page 154 Typo. "Heave Snow" Corrected. - Rename the "Flooding Loss Estimate - SHARPP DATA ENTRY" table to "Flooding Exposure Estimate - SHARPP DATA ENTRY" Revision made as requested. - Certain "Social Vulnerability indicators" display a "#DIV/0". Revision made as requested. |  |  |  |  |
| ELEMENT C. MITIGATION STRATEGY |  |  |  |  |
| C1. Does the plan document each jurisdiction’s existing authorities, policies, programs and resources and its ability to expand on and improve these existing policies and programs? (Requirement §201.6(c)(3)) | Sections 1.3 to 1.4 |  | X |  |
| C2. Does the Plan address each jurisdiction’s participation in the NFIP and continued compliance with NFIP requirements, as appropriate? (Requirement §201.6(c)(3)(ii)) | Jurisdictional Capabilities table in section 1.3, “Participates in NFIP” column. |  | X |  |
| C3. Does the Plan include goals to reduce/avoid long-term vulnerabilities to the identified hazards? (Requirement §201.6(c)(3)(i)) | Section 3.1 |  | X |  |
| C4. Does the Plan identify and analyze a comprehensive range of specific mitigation actions and projects for each jurisdiction being considered to reduce the effects of hazards, with emphasis on new and existing buildings and infrastructure? (Requirement §201.6(c)(3)(ii)) | Section 3.2 |  | X |  |
| C5. Does the Plan contain an action plan that describes how the actions identified will be prioritized (including cost benefit review), implemented, and administered by each jurisdiction? (Requirement §201.6(c)(3)(iv)); (Requirement §201.6(c)(3)(iii)) | Section 3.2, “Prioritization” |  | X |  |
| C6. Does the Plan describe a process by which local governments will integrate the requirements of the mitigation plan into other planning mechanisms, such as comprehensive or capital improvement plans, when appropriate? (Requirement §201.6(c)(4)(ii)) | Section 4.2 |  | X |  |
| ELEMENT C: REQUIRED REVISIONS C4. - Page 193. Rephrase action 4.6.1 to "Acquisition, demolition, and/or retrofit of floodprone properties". Revision made as requested. - Page 192 to 206. Include mitigation action for the construction/installation of community and residential safe rooms for all jurisdictions. Do not limit scope to just "part of all new public facility or major renovation projects". Revision made as requested. - Page 192 to 206. Project 7.2.5 should indicate title, or agency of "Local Governments" -> "Mayor/Administrator of all local governments" Revision made as requested. - Page 192 to 206. It is indicated that certain jurisdictions (Columbiana City, Hanoverton, Leetonia, Lisbon, Washingtonville) do not have active mitigation actions. Each participating jurisdiction needs to have at least one mitigation action. Recommended actions include: “Acquisition, demolition, and/or retrofit of floodprone properties”, “Construction/installation of community safe rooms. “ Projects added as requested; please note that we added these projects to the lists of active projects submitted with the original update. C5. - Page 192 to 206. There is no clear indication of what the number listed in each project's "Priority" mean. Does higher a higher number mean lower priority? Are they numbered off in ranking by each jurisdiction (Columbiana Co has repeating priority numbers). Clarification is needed. Added a second paragraph to the “Prioritization” subsection; see pp. 191-192. |  |  |  |  |
| ELEMENT D. PLAN REVIEW, EVALUATION, AND IMPLEMENTATION (applicable to plan updates only) |  |  |  |  |
| D1. Was the plan revised to reflect changes in development? (Requirement §201.6(d)(3)) | Section 1.4 |  | X |  |
| D2. Was the plan revised to reflect progress in local mitigation efforts? (Requirement §201.6(d)(3)) | Section 3.2, Appendix 3 |  | X |  |
| D3. Was the plan revised to reflect changes in priorities? (Requirement §201.6(d)(3)) | Section 3.2, “Prioritization” |  | X |  |
| ELEMENT D: REQUIRED REVISIONS D3. See item C5 above. “Page 192 to 206. There is no clear indication of what the number listed in each project's "Priority" mean. Does higher a higher number mean lower priority? Are they numbered off in ranking by each jurisdiction (Columbiana Co has repeating priority numbers). Clarification is needed.” Added a second paragraph to the “Prioritization” subsection; see pp. 191-192. |  |  |  |  |
| ELEMENT E. PLAN ADOPTION |  |  |  |  |
| E1. Does the Plan include documentation that the plan has been formally adopted by the governing body of the jurisdiction requesting approval? (Requirement §201.6(c)(5)) | Pending |  | X |  |
| E2. For multi-jurisdictional plans, has each jurisdiction requesting approval of the plan documented formal plan adoption? (Requirement §201.6(c)(5)) | Pending |  | X |  |
| ELEMENT E: REQUIRED REVISIONS |  |  |  |  |
| OPTIONAL: HIGH HAZARD POTENTIAL DAM RISKS |  |  |  |  |
| HHPD1. Did Element A4 (planning process) describe the incorporation of existing plans, studies, reports, and technical information for high hazard potential dams? | Section 1.3.3, Sources cited throughout plan. |  | X |  |
| HHPD2. Did Element B3 (risk assessment) address HHPDs? | Section 2.3.9 |  | X |  |
| HHPD3. Did Element C3 (mitigation goals) include mitigation goals to reduce long-term vulnerabilities from high hazard potential dams that pose an unacceptable risk to the public? | Section 3.1, particularly goal 4. |  | X |  |
| HHPD4. Did Element C4-C5 (mitigation actions) address HHPDs prioritize mitigation actions to reduce vulnerabilities from high hazard potential dams that pose an unacceptable risk to the public? | Projects 1.1.5, 1.1.6, 1D.1.4, 1J.1.3, 1M.1.1, 1M.1.3, |  | X |  |
| REQUIRED REVISIONS |  |  |  |  |
| ELEMENT F. ADDITIONAL STATE REQUIREMENTS (OPTIONAL FOR STATE REVIEWERS ONLY; NOT TO BE COMPLETED BY FEMA) |  |  |  |  |
| F1. |  |  |  |  |
| F2. |  |  |  |  |
| ELEMENT F: REQUIRED REVISIONS |  |  |  |  |

SECTION 2:

PLAN ASSESSMENT

INSTRUCTIONS:  The purpose of the Plan Assessment is to offer the local community more comprehensive feedback to the community on the quality and utility of the plan in a narrative format.  The audience for the Plan Assessment is not only the plan developer/local community planner, but also elected officials, local departments and agencies, and others involved in implementing the Local Mitigation Plan.   The Plan Assessment must be completed by FEMA.   The Assessment is an opportunity for FEMA to provide feedback and information to the community on: 1) suggested improvements to the Plan; 2) specific sections in the Plan where the community has gone above and beyond minimum requirements; 3) recommendations for plan implementation; and 4) ongoing partnership(s) and information on other FEMA programs, specifically RiskMAP and Hazard Mitigation Assistance programs.  The Plan Assessment is divided into two sections:

- Plan Strengths and Opportunities for Improvement

- Resources for Implementing Your Approved Plan

Plan Strengths and Opportunities for Improvement is organized according to the plan Elements listed in the Regulation Checklist.  Each Element includes a series of italicized bulleted items that are suggested topics for consideration while evaluating plans, but it is not intended to be a comprehensive list.  FEMA Mitigation Planners are not required to answer each bullet item and should use them as a guide to paraphrase their own written assessment (2-3 sentences) of each Element.

The Plan Assessment must not reiterate the required revisions from the Regulation Checklist or be regulatory in nature and should be open-ended and to provide the community with suggestions for improvements or recommended revisions.  The recommended revisions are suggestions for improvement and are not required to be made for the Plan to meet Federal regulatory requirements.  The italicized text should be deleted once FEMA has added comments regarding strengths of the plan and potential improvements for future plan revisions.  It is recommended that the Plan Assessment be a short synopsis of the overall strengths and weaknesses of the Plan (no longer than two pages), rather than a complete recap section by section.

Resources for Implementing Your Approved Plan provides a place for FEMA to offer information, data sources and general suggestions on the plan implementation and maintenance process.  Information on other possible sources of assistance including, but not limited to, existing publications, grant funding or training opportunities, can be provided. States may add state and local resources, if available.

A. Plan Strengths and Opportunities for Improvement

This section provides a discussion of the strengths of the plan document and identifies areas where these could be improved beyond minimum requirements.

Element A: Planning Process

How does the Plan go above and beyond minimum requirements to document the planning process with respect to:

- Involvement of stakeholders (elected officials/decision makers, plan implementers, business owners, academic institutions, utility companies, water/sanitation districts, etc.);

- Involvement of Planning, Emergency Management, Public Works Departments or other planning agencies (i.e., regional planning councils);

- Diverse methods of participation (meetings, surveys, online, etc.); and

- Reflective of an open and inclusive public involvement process.

Element B: Hazard Identification and Risk Assessment

In addition to the requirements listed in the Regulation Checklist, 44 CFR 201.6 Local Mitigation Plans identifies additional elements that should be included as part of a plan’s risk assessment. The plan should describe vulnerability in terms of:

- A general description of land uses and future development trends within the community so that mitigation options can be considered in future land use decisions;

- The types and numbers of existing and future buildings, infrastructure, and critical facilities located in the identified hazard areas; and

- A description of potential dollar losses to vulnerable structures, and a description of the methodology used to prepare the estimate.

How does the Plan go above and beyond minimum requirements to document the Hazard Identification and Risk Assessment with respect to:

- Use of best available data (flood maps, HAZUS, flood studies) to describe significant hazards;

- Communication of risk on people, property, and infrastructure to the public (through tables, charts, maps, photos, etc.);

- Incorporation of techniques and methodologies to estimate dollar losses to vulnerable structures;

- Incorporation of Risk MAP products (i.e., depth grids, Flood Risk Report, Changes Since Last FIRM, Areas of Mitigation Interest, etc.); and

- Identification of any data gaps that can be filled as new data became available.

Element C: Mitigation Strategy

How does the Plan go above and beyond minimum requirements to document the Mitigation Strategy with respect to:

- Key problems identified in, and linkages to, the vulnerability assessment;

- Serving as a blueprint for reducing potential losses identified in the Hazard Identification and Risk Assessment;

- Plan content flow from the risk assessment (problem identification) to goal setting to mitigation action development;

- An understanding of mitigation principles (diversity of actions that include structural projects, preventative measures, outreach activities, property protection measures, post-disaster actions, etc);

- Specific mitigation actions for each participating jurisdiction that reflects their unique risks and capabilities;

- Integration of mitigation actions with existing local authorities, policies, programs, and resources; and

- Discussion of existing programs (including the NFIP), plans, and policies that could be used to implement mitigation, as well as document past projects.

Element D: Plan Update, Evaluation, and Implementation (Plan Updates Only)

How does the Plan go above and beyond minimum requirements to document the 5-year Evaluation and Implementation measures with respect to:

- Status of previously recommended mitigation actions;

- Identification of barriers or obstacles to successful implementation or completion of mitigation actions, along with possible solutions for overcoming risk;

- Documentation of annual reviews and committee involvement;

- Identification of a lead person to take ownership of, and champion the Plan;

- Reducing risks from natural hazards and serving as a guide for decisions makers as they commit resources to reducing the effects of natural hazards;

- An approach to evaluating future conditions (i.e. socio-economic, environmental, demographic, change in built environment etc.);

- Discussion of how changing conditions and opportunities could impact community resilience in the long term; and

- Discussion of how the mitigation goals and actions support the long-term community vision for increased resilience.

B. Resources for Implementing Your Approved Plan

Ideas may be offered on moving the mitigation plan forward and continuing the relationship with key mitigation stakeholders such as the following:

- What FEMA assistance (funding) programs are available (for example, Hazard Mitigation Assistance (HMA)) to the jurisdiction(s) to assist with implementing the mitigation actions?

- What other Federal programs (National Flood Insurance Program (NFIP), Community Rating System (CRS), Risk MAP, etc.) may provide assistance for mitigation activities?

- What publications, technical guidance or other resources are available to the jurisdiction(s) relevant to the identified mitigation actions?

- Are there upcoming trainings/workshops (Benefit-Cost Analysis (BCA), HMA, etc.) to assist the jurisdictions(s)?

- What mitigation actions can be funded by other Federal agencies (for example, U.S. Forest Service, National Oceanic and Atmospheric Administration (NOAA), Environmental Protection Agency (EPA) Smart Growth, Housing and Urban Development (HUD) Sustainable Communities, etc.) and/or state and local agencies?

SECTION 3:

MULTI-JURISDICTION SUMMARY SHEET (OPTIONAL)

INSTRUCTIONS:  For multi-jurisdictional plans, a Multi-jurisdiction Summary Spreadsheet may be completed by listing each participating jurisdiction, which required Elements for each jurisdiction were ‘Met’ or ‘Not Met,’ and when the adoption resolutions were received.  This Summary Sheet does not imply that a mini-plan be developed for each jurisdiction; it should be used as an optional worksheet to ensure that each jurisdiction participating in the Plan has been documented and has met the requirements for those Elements (A through E).

|  |  | MULTI-JURISDICTION SUMMARY SHEET |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Jurisdiction Name |  | Jurisdiction Type (city/borough/ township/ village, etc.) | Plan POC | Mailing Address | Email | Phone | Requirements Met (Y/N) |  |  |  |  |  |
|  |  |  |  |  |  |  |  | A. Planning Process | B. Hazard Identification & Risk Assessment | C. Mitigation Strategy | D. Plan Review, Evaluation & Implementation | E. Plan Adoption | F. State Require-ments |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |